## Slide 1: Storage in OpenStack

## Slide 2: Content
Cinder (Block Storage)
Swift (Object Storage)
Ceph (Unified, Distributed Storage System)
EASYSTACK

## Slide 3: OpenStack Architecture
EASYSTACK

## Slide 4: Storage in OpenStack
EASYSTACK
Block Storage
Cinder
Amazon EBS(Elastic Block Store)
Object Storage
Swift
Amazon S3(Simple Storage Service)

## Slide 5
Cinder
EASYSTACK

## Slide 6: Cinder Overview
Project exists since Folsom release, spun off Nova-volume
Cinder manages block storage
Not object storage (Swift)
Not file-level storage (Manila)
Volumes attach to VM instances
Boot from volume
Volumes have a life-cycle independent of VM instances
VM
Ephemeral
Block
Shared FS
Object
Cinder
Manila
Nova
Swift
Image
Glance

## Slide 7: Block Storage Terms
Volume
    A detachable block storage device
    Shareable
Volume type
    An administrator-defined type of a block storage volume (such as SATA, SCSCI, SSD, etc.)
    Administrator-defined extra_specs associated with your volume types, for example: VolumeType=SATA, with extra_specs (RPM=10000, RAID-Level=5)
Snapshot
    A point in time copy of the data contained in a volume
Backup
    Full copy of a volume stored in an external service (Object Storage)
    Can be restored to the same volume that the backup was originally taken from, or to a new volume
Instance
    A virtual machine (VM) that runs inside the cloud

## Slide 8: Cinder Services
cinder-api
WSGI app that authenticates and routes requests throughout the block storage system
cinder-scheduler
      decides which host gets each volume
cinder-backup
Provides services to backup volumes to Swift object storage
cinder-volume
manages dynamically attachable block devices.

## Slide 9: Cinder API
REST API
POST /v2/​{tenant_id}​/volumes
DELETE /v2/​{tenant_id}​/volumes/​{volume_id}​
GET /v2/​{tenant_id}​/volumes/​{volume_id}​
POST /v2/​{tenant_id}​/volumes/​{volume_id}​/action
PUT /v2/​{tenant_id}​/volumes/​{volume_id}​
GET /v2/​{tenant_id}​/volumes/​{volume_id}​/metadata
Python Paste
http://pythonpaste.org/
Interact with Keystone

## Slide 10: Cinder Scheduler
Chooses cinder volume backend to place new volume
Filter Scheduler：
AvailabilityZoneFilter: Filters Hosts by availability zone
CapacityFilter: CapacityFilter filters based on volume host's capacity utilization.
CapabilitiesFilter: HostFilter to work with resource (instance & volume) type records.
Scheduler Weighers
AllocatedCapacityWeigher
CapacityWeigher
Cinder Volume Drivers periodically report capabilities and state
Filters out unsuitable backends
Different zone/ Insufficient free space/ capabilities
Sorts according to weights (e.g., available space)
Returns best candidate

## Slide 11: Cinder Backup
Full copies of persistent volumes stored in a backup store
Plug-able driver architecture
Ceph
OpenStack Swift
IBM Tivoli Storage Manager
Backup/restore can only be operated on volumes in an unattached and available state.

## Slide 12: Cinder Volume
Manager contains generic code
High-level flow, DB & quota updates
Drivers contain back-end specific code
Linux LVM with iSCSI
Storage controllers from various vendors
Distributed file systems
Multi-Backend
One cinder volume service manage multi storage backend

## Slide 13: Cinder Volume Drivers in Juno
Dell EqualLogic
EMC VMAX
EMC VNX Direct
EMC XtremIO
Fujitsu ETERNUS
GlusterFS
Hitachi (HUS)
Hitachi (HUS-VM)
Hitachi (VSP, VSP G1000)
Hitachi (HNAS)
HP 3PAR (StoreServ)
Huawei T/Dorado
Huawei HVS
IBM DS8000
IBM GPFS
IBM Storwize family/SVC
IBM NAS
IBM XIV
NetApp Data ONTAP
NetApp E/EF-series
RBD (Ceph)
Scality
SolidFire
Vmware
Windows Server 2012
https://wiki.openstack.org/wiki/CinderSupportMatrix

## Slide 14: Installing and Configuring Cinder

## Slide 15: Installing and Configuring Cinder
Decide on whether to perform single-node or multi-node installation
Configure the database
      Create database user called cinder
      Create database called cinder and make cinder owner of it
Decide on whether to perform single-node or multi-node installation
Configure the database
      Create database user called cinder
      Create database called cinder and make cinder owner of it
Install cinder-api cinder-scheduler cinder-volume iscsitarget open-iscsi and iscsitarget-dkms
Configure Cinder
      Enable iscsitarget in defaults
      Start services iscsitarget and open-iscsi
      Make sure that the storage volume such as SAN or iSCSI attached is exposed to nova-compute nodes
Restart cinder and its related services Cinder is available from Horizon

## Slide 16: Adding a Cinder Node
To offer more storage, you can add additional Cinder volume nodes:
    Install the required packages for cinder
    Create a volume group called cinder-volumes
  Configurable using the cinder_volume parameter in cinder.conf
    Configure tgtd with its targets.conf file and start the tgtd service
    Modify cinder.conf
      Add node connection information to cinder.conf
      Set the iscsi_ip_address setting in cinder.conf
        Must match the public IP of the node you're installing,
        Restart the cinder services
    Run cinder-manage host list command you should see the new volume node listed.
    Check /var/log/cinder/volume.log for issues

## Slide 17: Common Cinder Management Tasks
volume
  Create
  Delete
  List, show
  Metadata
  Detach, attach
  Extend
  Migrate
volume snapshot
  create
  delete
  list
  show
volume backup
  create
  delete
  list
  export
  import
type
  create
  delete
  update
More：http://docs.openstack.org/cli-reference/cinder.html

## Slide 18: Listing Cinder Service Status
Lists running Cinder services, view status
  $ cinder service-list
+------------------+------------------------+------+---------+-------+----------------------------+
| Binary | Host | Zone | Status | State | Updated_at |
+------------------+------------------------+------+---------+-------+----------------------------+
| cinder-scheduler | localhost | nova | enabled | up | 2016-02-25T15:56:59.000000 |
| cinder-volume | localhost@lvmdriver-1 | nova | enabled | up | 2016-02-25T15:56:59.000000 |
+------------------+------------------------+------+---------+-------+----------------------------+
Lists running Cinder services, view status with multiple back-ends
  $ cinder service-list
+------------------+-------------------------+------+---------+-------+----------------------------+
| Binary | Host | Zone | Status | State | Updated_at |
+------------------+-------------------------+------+---------+-------+----------------------------+
| cinder-scheduler | localhost | nova | enabled | up | 2014-10-21T19:01:19.000000 |
| cinder-volume | localhost@lvmdriver-1| nova | enabled | up | 2014-10-21T19:01:14.000000 |
| cinder-volume | localhost@3pariscsi | nova | enabled | up | 2014-10-21T19:01:16.000000 |
| cinder-volume | localhost@lefthand | nova | enabled | up | 2014-10-21T19:01:22.000000 |
+------------------+-------------------------+------+---------+-------+----------------------------+
All services should be 'enabled & up'

## Slide 19: Creating a volume
    $ cinder create --display-name myvol1 1
    +---------------------+--------------------------------------+
    | Property | Value |
    +---------------------+--------------------------------------+
    | attachments | [] |
    | availability_zone | nova |
    | bootable | false |
    | created_at | 2014-10-12T14:21:05.973897 |
    | display_description | None |
    | display_name | myvol1 |
    | id | c52427c6-1e5c-48b3-95f4-651102a0a024 |
    | size | 1 |
    | metadata | {} |
    | snapshot_id | None |
    | source_volid | None |
    | status | creating |
    | volume_type | None |
    +---------------------+--------------------------------------+
    Creating a volume
  cinder create
  [--snapshot-id <snapshot-id>]
  [--source-volid <source-volid>]
  [--image-id <image-id>]
  [--display-name <display-name>]
  [--display-description <display-description>]
  [--volume-type <volume-type>]
  [--availability-zone <availability-zone>]
  [--metadata [<key=value> [<key=value> ...]]]
  <size>

## Slide 20: Creating a volume
Volume
Driver
(ceph)
Ceph
Raw
Snapshot
Source_volume
Image
_create_raw_volume
create_volume()
create()
_create_from_snapshot
_create_from_source_volume
_create_from_image
1.create_volume_from_snapshot
2. _clone
3._flatten
4._resize
1.clone
2.flatten
3.resize
rbd import
create_cloned_volume
1.full copy
copy()
2.COW
1.create_snap
2. copy from snap
1.clone
2.create_snap
3.flatten
copy_image_to_volume

## Slide 21: Attaching a volume
Requires proper configuration Nova and Cinder
SAN (Storage Area Network)
  LU: Logical disk created on remote SAN storage
          LUN: A number used to identify a logical unit – a device addressed by SCSI protocol or SAN protocols which encapsulate SCSI(FC or iSCSI)
Requires ISCSI or FC
  SCSI(Small Compute System Interface)
    A set of standards, for physically connecting and data transferring between computers and peripheral devices
  ISCSI (Internet Small Compute System Interface)
    Initiator: iscsiadm from iscsi-initiator-utils.
    Target: tgtadm and ‘/etc/tgt/targets.conf’ from scsi-target-utils。
  FC(Fibre Channel):
    FC is a high-speed network technology
    2G/4G/8G/16GFC
    FCP(Fibre Channel Protocol) is a transport protocol(TCP in IP networks),transports SCSI commands over FC networks

## Slide 22: Attaching a volume

## Slide 23: Linux Storage Stack

## Slide 24: Attaching a volume
Use nova volume-attach to connect a volume to an instance
  nova volume-attach <server> <volume> <device>
  $ nova list
  +--------------------------------------+-------------+--------+------------+-------------+------------------+
  | ID | Name | Status | Task State | Power State | Networks |
  +--------------------------------------+-------------+--------+------------+-------------+------------------+
  | cb917af6-884b-47ee-be84-c0b66b7bdef9 | NewTenantVM | ACTIVE | None | Running | net1=192.168.2.4 |
  +--------------------------------------+-------------+--------+------------+-------------+------------------+
  $ cinder list
  +--------------------------------------+-----------+--------------+------+-------------+----------+-------------+
  | ID | Status | Display Name | Size | Volume Type | Bootable | Attached to |
  +--------------------------------------+-----------+--------------+------+-------------+----------+-------------+
  | fb3be1ed-0a8e-4fce-998e-a20c092b8104 | available | None | 5 | None | False | |
  +--------------------------------------+-----------+--------------+------+-------------+----------+-------------+
  $ nova volume-attach cb917af6-884b-47ee-be84-c0b66b7bdef9 fb3be1ed-0a8e-4fce-998e-a20c092b8104 auto
  +----------+--------------------------------------+
  | Property | Value |
  +----------+--------------------------------------+
  | device | /dev/vdb |
  | serverId | cb917af6-884b-47ee-be84-c0b66b7bdef9 |
  | id | fb3be1ed-0a8e-4fce-998e-a20c092b8104 |
  | volumeId | fb3be1ed-0a8e-4fce-998e-a20c092b8104 |
  +----------+--------------------------------------+

## Slide 25: Detaching and deleting a volume
  nova volume-detach <server> <volume>
  $ nova volume-detach cb917af6-884b-47ee-be84-c0b66b7bdef9 fb3be1ed-0a8e-4fce-998e-a20c092b8104
  $ cinder list
  +--------------------------------------+-----------+--------------+------+-------------+----------+-------------+
  | ID | Status | Display Name | Size | Volume Type | Bootable | Attached to |
  +--------------------------------------+-----------+--------------+------+-------------+----------+-------------+
  | fb3be1ed-0a8e-4fce-998e-a20c092b8104 | available | None | 5 | None | False | |
  +--------------------------------------+-----------+--------------+------+-------------+----------+-------------+
  $ cinder delete fb3be1ed-0a8e-4fce-998e-a20c092b8104

## Slide 26: Snapshot
  A snapshot is a read-only copy of a volume that can be used to create another volume。
  You can create another read-write volume from the snapshot
  API return status values:
    CREATING – The snapshot is being created
    AVAILABLE – The snapshot is ready to be used
    DELETING – The snapshot is being deleted
    ERROR – An error occurred with the snapshot
    ERROR_DELETING – There was an error deleting the snapshot
volume
snapshot
new volume

## Slide 27: Creating a snapshot
  $ cinder snapshot-create fb3be1ed-0a8e-4fce-998e-a20c092b8104 --display_name "mysnapshot"
  +---------------------+--------------------------------------+
  | Property | Value |
  +---------------------+--------------------------------------+
  | created_at | 2014-09-07T22:57:08.918471 |
  | display_description | None |
  | display_name | mysnapshot |
  | id | 869a6abf-5b19-4fbe-99ea-037f2bdf1d90 |
  | metadata | {} |
  | size | 5 |
  | status | creating |
  | volume_id | fb3be1ed-0a8e-4fce-998e-a20c092b8104 |
  +---------------------+--------------------------------------+
  $ cinder list
  +--------------------------------------+-----------+--------------+------+-------------+----------+-------------+
  | ID | Status | Display Name | Size | Volume Type | Bootable | Attached to |
  +--------------------------------------+-----------+--------------+------+-------------+----------+-------------+
  | fb3be1ed-0a8e-4fce-998e-a20c092b8104 | available | None | 5 | None | False | |
  +--------------------------------------+-----------+--------------+------+-------------+----------+-------------+
  $ cinder snapshot-list
  +--------------------------------------+--------------------------------------+-----------+--------------+------+
  | ID | Volume ID | Status | Display Name | Size |
  +--------------------------------------+--------------------------------------+-----------+--------------+------+
  | 869a6abf-5b19-4fbe-99ea-037f2bdf1d90 | fb3be1ed-0a8e-4fce-998e-a20c092b8104 | available | mysnapshot | 5 |
  +--------------------------------------+--------------------------------------+-----------+--------------+------+

## Slide 28: Creating a Volume From a Snapshot
  $ cinder snapshot-list
  +--------------------------------------+--------------------------------------+-----------+--------------+------+
  | ID | Volume ID | Status | Display Name | Size |
  +--------------------------------------+--------------------------------------+-----------+--------------+------+
  | 869a6abf-5b19-4fbe-99ea-037f2bdf1d90 | fb3be1ed-0a8e-4fce-998e-a20c092b8104 | available | mysnapshot | 5 |
  +--------------------------------------+--------------------------------------+-----------+--------------+------+
  $ cinder create 1 --snapshot-id 869a6abf-5b19-4fbe-99ea-037f2bdf1d90
  +---------------------+--------------------------------------+
  | Property | Value |
  +---------------------+--------------------------------------+
  | created_at | 2014-09-07T22:57:08.918471 |
  | display_description | None |
  | name | myvolume |
  | snapshot_id | 869a6abf-5b19-4fbe-99ea-037f2bdf1d90 |
  | metadata | {} |
  | size | 5 |
  | status | creating |
  | volume_type | lvmdriver-1 |
  +---------------------+--------------------------------------+

## Slide 29: Creating a type
You can create your own type classification system:
  $ cinder type-create Tier1
  +--------------------------------------+-------+
  | ID | Name |
  +--------------------------------------+-------+
  | 1d6a795e-e8fa-4741-93f6-20eb6020008d | Tier1 |
  +--------------------------------------+-------+
  $ cinder type-create Tier2
  +--------------------------------------+-------+
  | ID | Name |
  +--------------------------------------+-------+
  | 5ab78176-4e2b-43dc-835f-c1f88878d6da | Tier2 |
  +--------------------------------------+-------+
  $ cinder type-list
  +--------------------------------------+-------+
  | ID | Name |
  +--------------------------------------+-------+
  | 1d6a795e-e8fa-4741-93f6-20eb6020008d | Tier1 |
  | 5ab78176-4e2b-43dc-835f-c1f88878d6da | Tier2 |
  +--------------------------------------+-------+
Cinder create
    $ cinder create –-volume-type Tier1 5

## Slide 30: Creating extra specs
set extra_spec for a volume type
  $ cinder type-key Tier2 set hp3par:cpg=CPG3 hp3par:provisioning=full qos:maxIOPS=2000 qos:maxBWS=100 volume_backend_name=3pariscsi
  +--------------------------------------+-------+
  | ID | Name |
  +--------------------------------------+-------+
  | 1d6a795e-e8fa-4741-93f6-20eb6020008d | Tier1 |
  +--------------------------------------+-------+
    $ cinder extra-specs-list

## Slide 31
Swift
EASYSTACK

## Slide 32: Swift Overview
VM
Ephemeral
Block
Shared FS
Object
Cinder
Manila
Nova
Swift
Image
Glance
Software to reliably store billions of objects distributed across standard hardware

## Slide 33: Swift Overview
Swift Account
Containers
Objects
Account/Container/Object structure
User
User accesses an account
Account owns containers
Containers contain objects

## Slide 34: Swift Architectural Overview
Proxy Server
  together the rest of the Swift architecture.
  look up the location in the ring
  route the request accordingly.
The Ring
  mapping between the names of entities stored on disk and physical location.
  separate rings for accounts, containers, and one object ring per storage policy.
Object Server
  blob storage server that can store, retrieve and delete objects stored on local devices.
  metadata stored in xattrs.

## Slide 35: Swift Architectural Overview
Container Server
  handle listings of objects. Just know what objects are in a specific container.
  The listings are stored as sqlite database files.
  Statistics are also tracked that include the total number of objects, and total storage usage for that container.
Account Server
  very similar to the Container Server
  handle listings of containers rather than objects

## Slide 36: Swift Architectural Overview
Updaters
    There are times when container or account data can not be immediately updated.
    If an update fails, the update is queued locally on the filesystem, and the updater will process the failed updates.
Auditors
  check the integrity of the objects, containers, and accounts.
  quarantine and replace the bad file
Account Reaper
    removes data from deleted accounts in the background.

## Slide 37: Swift Deployment

## Slide 38: Ring
The rings determine where data should reside in the cluster.
These rings are externally managed, in that the server processes themselves do not modify the rings, they are instead given new rings modified by other tools.

## Slide 39: Ring
This works well, except the number of
nodes are small.
The solution to this problem is to
introduce the idea of "partition", which
are replicas of node points in the circle.
So whenever we add a node we create a number of points in the circle for it.

## Slide 40: Objects on Storage
Account
sdb1/accounts/225/213/70d72c1ef3561f867d35913daeb45213/70d72c1ef3561f867d35913daeb45213.db
Container
sdb1/containers/253/a8d/7e84c5bddfcb36410f579aebd4378a8d/7e84c5bddfcb36410f579aebd4378a8d.db
Object
sdb1/objects/343/ded/abfa65c7ed96b09251b0600c39eccded/1378769848.49243.data
Partition Number
Last 3 digits of account hash
Account hash:
hash(swift_hash_path_prefix+account+container+object+swift_hash_path_suffix)
Object name on disk
(timestamp in epoch format)

## Slide 41: Objects on Storage
objects/
accounts/
containers/
tmp/
    from tempfile import mkstemp;
    fd, tmppath = mkstemp(dir=self._tmpdir)
    rename
async_pending/
    Updaters
quarantined/
    Auditors

## Slide 42: Ring
A partition is replicated to three different disks in three different zones, for example:
15.168.13.1:6003/dev/sda5
15.168.97.21:6003/dev/sda10
15.168.22.4:6003/dev/sda7
0
Partition 38723
2^21
R1
R2
R3

## Slide 43: Replication
Replication uses a push model, with records and files generally only being copied from local to remote replicas.
  Object Replication:
    simply performed an rsync to push data from a local partition to all remote servers it was expected to exist on.
  DB Replication:
    The first step performed by db replication is a low-cost hash comparison to find out whether or not two replicas already match.
    If the hashes differ, the replicator brings the databases in sync by sharing records added since the last sync point.
Every deleted record or file in the system is marked by a tombstone, so that deletions can be replicated alongside creations.

## Slide 44: Zone、Region
Region B
Zone 1
storage
partitions
partitions
Zone 2
storage
partitions
partitions
Region A
Zone 1
storage
partitions
partitions
Zone 2
storage
partitions
partitions
    Partitions can be replicated across zones and regions

## Slide 45: Swift Commands
Commands：
swift capabilities: List cluster capabilities.
swift delete: Delete a container or objects within a container.
swift download: Download objects from containers.
swift list: Lists the containers for the account or the objects for a container.

## Slide 46: swift stat [container] [object]
$ swift stat
Account: AUTH_7b5970fbe7724bf9b74c245e77c03bcg
Containers: 2
Objects: 3
Bytes: 268826
Accept-Ranges: bytes
X-Timestamp: 1392683866.17952
Content-Type: text/plain; charset=utf-8
$ swift stat CONTAINER
Account: AUTH_7b5970fbe7724bf9b74c245e77c03bcg
Container: storage1
Objects: 2
Bytes: 240221
Read ACL:
Write ACL:
Sync To:
Sync Key:
Accept-Ranges: bytes
X-Timestamp: 1392683866.20180
Content-Type: text/plain; charset=utf-8
Displays information for the account, container, or object.

## Slide 47: swift post [container] [object]
$ swift post -r 'testuser'
$ swift post -r '.r:*'
Updates meta information for the account, container, or object; creates containers if not present.
Optional arguments:
-r, --read-acl <acl>
Read ACL for containers. Quick summary of ACL syntax: .r:*, .r:-.example.com, .r:www.example.com, account1, account2:user2
-w, --write-acl <acl>
Write ACL for containers. Quick summary of ACL syntax: account1 account2:user2
-t, --sync-to <sync-to>
Sync To for containers, for multi-cluster replication.
-k, --sync-key <sync-key>
Sync Key for containers, for multi-cluster replication.
-m, --meta <name:value>
Sets a meta data item. This option may be repeated. Example: -m Color:Blue -m Size:Large
-H, --header <header:value>
Adds a customized request header. This option may be repeated. Example -H “content-type:text/plain” -H “Content-Length: 4000”

## Slide 48: swift upload [container] [object]
Swift has a limit on the size of a single uploaded object; by default this is 5GB.
However, the download size of a single object is virtually unlimited with the concept of segmentation.
$ swift upload test_container -S 1073741824 large_file
This would split the large_file into 1G segments and begin uploading those segments in parallel.
$ swift download test_container large_file
Uploads specified files and directories to the given container.

## Slide 49: swift tempurl
Optional arguments:
<method>
An HTTP method to allow for this temporary URL. Usually 'GET' or 'PUT'.
<seconds>
The amount of time in seconds the temporary URL will be valid for; or, if --absolute is passed, the Unix timestamp when the temporary URL will expire.
<path>
The full path to the Swift object. Example: /v1/AUTH_account/c/o.
<key>
The secret temporary URL key set on the Swift cluster. To set a key, run ‘swift post -m “Temp-URL-Key:b3968d0207b54ece87cccc06515a89d4”’
Generates a temporary URL for a Swift object.

## Slide 50: Ceph VS Swift
FILE SYSTEM
BLOCK STORAGE
OBJECT STORAGE
Keystone
Geo-Replication
Native API
Multi-tenant
S3 & Swift
OpenStack
Linux Kernel
ISCSI
Clones
Shotsnap
CIFS/NFS
HDFS
Distributed Metadata
Linux Kernel
Posix
CEPH

## Slide 51: Ceph VS Swift
OPENSTACK
KEYSTONE API
SWIFT API
CINDER API
GLANCE API
NOVA
API
CEPH OBJECT GATEWAY
(RGW)
CEPH BLOCK DEVICE
(RBD)
Volumes
Ephemeral
Copy-on-Write
Snapshots

## Slide 52: Ceph VS Swift
Swift API + Ceph:
1. Ceph has less bottlenecks.
2. Ceph provides object and block storage.
How:
Install swift-api in controller node.
NOTICE: S3- and Swift-compliant APIs

## Slide 53
Ceph
EASYSTACK

## Slide 54: Ceph Overview
FILE SYSTEM
BLOCK STORAGE
OBJECT STORAGE
Keystone
Geo-Replication
Native API
Multi-tenant
S3 & Swift
OpenStack
Linux Kernel
ISCSI
Clones
Shotsnap
CIFS/NFS
HDFS
Distributed Metadata
Linux Kernel
Posix
CEPH

## Slide 55: Ceph Overview
OPENSTACK
KEYSTONE API
SWIFT API
CINDER API
GLANCE API
NOVA
API
CEPH OBJECT GATEWAY
(RGW)
CEPH BLOCK DEVICE
(RBD)
Volumes
Ephemeral
Copy-on-Write
Snapshots

## Slide 56: Ceph Overview
http://ceph.com/papers/weil-rados-pdsw07.pdf

## Slide 57: Ceph Network

## Slide 58: Ceph Data Replication

## Slide 59: Ceph Terms
MON/MDS/OSD
PG: Placement Group
PGP: Placement Group for Placement
POOL: Pools are logical partitions for storing objects
Object

## Slide 60: Ceph with OpenStack
Second-Level instance deployment/instance snapshot with Ceph RBD snapshot/clone features
Compute pool for Nova ephemeral disk
Images pool for Glance image store
Volumes pool for Cinder Volumes/Snapshots
Backups pool for Cinder backups
perform incremental/differential backups
Rados GateWay for Swift

## Slide 61: KVM + LIBRBD
M
M
M
RADOS Cluster
OSD
Linux Host
QEMU/KVM
LIBRBD
VM
VM
VM
VM
8

## Slide 62: Storage Stack
RAID Card
Disk
Linux
Block Device
File System
Page Cache
I/O Sched
Ceph-OSD
Ceph OSD
VM
VirtIO
File System
Page Cache
I/O Sched
APP
QEMU/KVM
LIBRBD
QEMU/KVM
TCP/IP
RDMA

## Slide 63: OBJ->PG->OSD

## Slide 64: Cluster Map
The Monitor Map:
cluster fsid
the position
name address
port of each monitor.
current epoch
when the map was created
the last time it changed.

## Slide 65: Cluster Map
The OSD Map: PGMap
the cluster fsid
when the map was created
last modified
a list of pools
replica sizes
PG numbers
a list of OSDs and their status (e.g., up, in).

## Slide 66: Cluster Map
The MDS Map:
Contains the current MDS map epoch
when the map was created
the last time it changed
the pool for storing metadata
a list of metadata servers, and which metadata servers are up and in.

## Slide 67: Cluster Map
The CRUSH Map:
Contains a list of storage devices
the failure domain hierarchy (e.g., device, host, rack, row, room, etc.)
and rules for traversing the hierarchy when storing data.
# buckets
host osdone {
id -2 # do not change unnecessarily
alg straw
hash 0 # rjenkins1
item osd.0 weight 0.070
}
host osdtwo {
id -3 # do not change unnecessarily
# weight 0.100
alg straw
hash 0 # rjenkins1
item osd.1 weight 0.100
}
root default {
id -1 # do not change unnecessarily
# weight 0.170
alg straw
hash 0 # rjenkins1
item osdone weight 0.070
item osdtwo weight 0.100
}
# rules
rule replicated_ruleset {
ruleset 0
type replicated
min_size 1
max_size 10
step take default
step chooseleaf firstn 0 type host
step emit
}

## Slide 68: CRUSH

## Slide 69: Bucket Type
Notes: • Uniform Buckets：适用于具有相同权重的item，而且bucket很少添加删除item。它的查找速度是最快的。
• List Buckets：它的结构是链表结构，所包含的item可以具有任意的权重。CRUSH从表头开始查找副本的位置，它先得到表头item的权重Wh、剩余链表中所有item的权重之和Ws，然后根据hash(x, r, item)得到一个[0~1]的值v，假如这个值v在[0~Wh/Ws)之中，则副本在表头item中，并返回表头item的id。否者继续遍历剩余的链表。
• Tree Buckets：链表的查找复杂度是O(n)，决策树的查找复杂度是O(log n)。item是决策树的叶子节点，决策树中的其他节点知道它左右子树的权重，节点的权重等于左右子树的权重之和。CRUSH从root节点开始查找副本的位置，它先得到节点的左子树的权重Wl，得到节点的权重Wn，然后根据hash(x, r, node_id)得到一个[0~1]的值v，假如这个值v在[0~Wl/Wn)中，则副本在左子树中，否者在右子树中。继续遍历节点，直到到达叶子节点。 Tree Bucket的关键是当添加删除叶子节点时，决策树中的其他节点的node_id不变。决策树中节点的node_id的标识是根据对二叉树的中序遍历来决定的(node_id不等于item的id，也不等于节点的权重)。
• Straw Buckets：这种类型让bucket所包含的所有item公平的竞争(不像list和tree一样需要遍历)。这种算法就像抽签一样，所有的item 都有机会被抽中(只有最长的签才能被抽中)。每个签的长度是由length = f(Wi)*hash(x, r, i) 决定的，f(Wi)和item的权重有关，i是item的id号。c(r, x) = MAXi(f(Wi) * hash(x, r, i))。

## Slide 70: Report OSD Status

## Slide 71: Report OSD Status
Each Ceph OSD Daemon checks the heartbeat of other Ceph OSD Daemons every 6 seconds.
If a neighboring Ceph OSD Daemon doesn't show a heartbeat within a 20 second grace period, the Ceph OSD Daemon may consider the neighboring Ceph OSD Daemon down and report it back to a Ceph Monitor

## Slide 72: Report OSD Status
report it back to a Ceph Monitor (3 times)

## Slide 73: Report OSD Status
Report Peering Failure every 30 seconds.

## Slide 74: Report OSD Status
A Ceph OSD Daemon sends a report to a Ceph Monitor when a reportable event such as a failure, a change in placement group stats, a change in up_thru or when it boots within 5 seconds.
report to a Ceph Monitor every 120 seconds

## Slide 75: Cluster of Monitors
MON.1
MON.2
MON.4
MON.3
Client
Lease
Paxos

## Slide 76: Ceph Rebalancing

## Slide 77: Cache Tiering
To set up cache tiering, you must have two pools. One
will act as the backing storage and the other will act as the cache.
ceph osd tier add {storagepool} {cachepool}
ceph osd tier cache-mode {cachepool} {cache-mode}
cache-mode:
  Writeback Mode: write data to the cache tier, read data from the cache tier
  Read-only Mode: write data to the backing tier, read data from the cache tier
  Read-forward Mode: write data to the cache tier, read data from the backing tier
  Read-proxy Mode: write data to the cache tier,the cache tier reads from the backing tier on behalf of the clients(do not copy the data)
ceph osd tier set-overlay {storagepool} {cachepool}
  direct all client traffic
ceph osd pool set {cachepool} {key} {value}

## Slide 78: Ceph Scrub
OSD
Light scrubbing (daily) checks the object size and attributes.
Deep scrubbing (weekly) reads the data and uses checksums to ensure data integrity.
lock & sync

## Slide 79: Hardware Selection
SSD Journal: 2 * 128GB SSD + 12 HDD
1 GB Mem / TB per OSD
1.5 CPU per OSD
RAID 0 / Non-RAID / Pass-through / JBOD
10 Gb Ethernet Cluster network, or Infiniband/RDMA
Separate Public and Cluster network

## Slide 80
Q&A
THANKS